



|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **QUOTATION FOR ZINOX PRODUCTION** | | | | | | | | | |  |
| **S/N** | **ITEMS** | **FAULT SOLUTION** | | **NUM. OF A/C** | | **ITEM PRICE** | | **TOTAL ITEM** | | **TOTAL** |
| 1. | Panel | Change of indoor and outdoor panel | | 2 AC | | N80,000 | | 4 panels | | N320,000 |
| 2. | Compressor | Change of compressor | | Third standing A/C | | N190,000 | | 1 | | N190,000 |
| 3. | Servicing | AC needs service | | 2 remaining AC | | N10,000 | | 2 AC | | N20,000 |
| 4. | Full can of gas |  | |  | | N150,000  Per can | | 3 full can | | N450,000 |
|  | | | | | | | | | |  |
| **N980,000** |
| **Note:** | **Gas would be used for both Zinox and Zinox Kaz production** | | | | | | | | |  |
|  |  | |  | |  | |  | |  |  |
| **QOATATION FOR ZINOX KAZ PRODUCTION** | | | | | | | | |  |  |
| **S/N** | **ITEMS** | | **FAULT SOLUTION** | | **NUM. OF A/C** | | **ITEM PRICE** | | **TOTAL ITEM** | **TOTAL** |
| 1. | 3/8 pipe | | Change of pipe for the Panasonic AC | | 2 AC | | N90,000 per bundle | | 8 bundles | N720,000 |
| 2. | South Africa ½ inch pipe | |  | | 2 AC | | N90,000 per bundle | | 8 bundles | N720,000 |
| 3. | Hammer Flex | |  | | 2 AC | | N1,500 per each | | 8 pieces | N12,000 |
| 4. | Banding tape | |  | | 2 AC | | N1,000 | | 6 pieces | N6,000 |
| 5. | Trunking | |  | | 2 AC | | N2,500 | | 5 pieces | N12,500 |
|  | | | | | | | | | | **N1,470,500** |
|  |
|  | | | | | | | | | **TOTAL** | **N2,450,500** |
|  |  |
| **WORKMANSHIP** | **N300,000** |
| **TRANS. FEE** | **N20,000** |
|  | | | | | | | | |  |  |
| **OVERALL TOTAL** | **N2,770,500** |